BS-808  Examination Bed Instruction

Length 1800MM

Width 600MM

Height 700MM

Frame of bed adopt cold roll carbon steel tube 60*30*1.5、50*50*1.5 tube,cold roll angle iron 30*30*2.5 and cold roll carton steel sheet combination of welding,the surface treated with electrostatic spraying.

Mattress  5cm thickness mattress, high density sponge,artificial leather, there is a pillow on the head,(height of pillow is 15cm)

There is a cabinet under the bed .